FIELD DX REFRIGERATION PRESSURE TESTING RECORD

CX: 	  	MODEL: 	   	S/N:

TEST ITEM DESCRIPTION: 		                                                                          P/N:

PRESSURE TEST - Refer to FIELD DX REFRIGERATION PRESSURE TESTING WORK INSTRUCTION #11184.

|  | Test Pressure* – High Side | Test Pressure – Low Side | Test Results Acceptable? |  |
| --- | --- | --- | --- | --- |
| Target Setting | 350 PSIG for 2 hours | 200 PSIG for 2 hours |  |  |
| Actual Reading |  |  | YES | NO |

*NOTE – The High Side Pressure Test is to be stopped and pressure released prior to the 5 minute duration if the Low Side Pressure exceeds 225 PSIG.

Confirm Red Tag (Warning Label) is attached to the unit: 	YES      NO   

Confirm Test/Drain Label is attached to the unit: 		YES      NO  

VACUUM TEST - Refer to FIELD DX REFRIGERATION PRESSURE TESTING WORK INSTRUCTION #11184.

|  | Start of Vacuum Test <=500 micron | Duration >= 30 mins | End of Vacuum Test <=750 microns | Test Results Acceptable? |  |
| --- | --- | --- | --- | --- | --- |
| Actual Reading |  |  |  | YES | NO |

Our job is not done until our clients are growing confidently. We deliver on Conviron’s commitments by installing and commissioning controlled environment equipment on-specification, on-time, and on-budget.

Please return a copy of this completed form to the Installations Department.

Completed By: 	                       	Date:  						   	   	   MM   /   DD   /    YYYY